## Sheet1
Generation Interconnection Number | Current Cluster | Cluster Group | Nearest Town or County | State | TO at POI | In-Service Date | Commercial Operation Date | Capacity | MAX Summer MW | MAX Winter MW | Service Type | Generation Type | Fuel Type | Substation or Line | Request Received | Status
GEN-2020-005 | DISIS-2020-001 | 05 SOUTHWEST | Carson County | TX | SPS | 2023-01-15 | 2023-02-15 | 150 | 150 | 150 | ER/NR | Wind |  | Conway 115 kV Line (524079) | 2020-03-31 | DISIS STAGE
GEN-2020-031 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 | 2023-05-31 | 303 | 258 | 303 | ER/NR | Thermal | CT | Substation 1363; 161kV Substation | 2020-04-29 | DISIS STAGE
GEN-2020-036 | DISIS-2020-001 | 02 NEBRASKA | Plattsmouth | NE | OPPD | 2023-04-30 | 2023-05-31 | 303 | 303 | 303 | ER/NR | Hybrid | Solar/Battery | Substation 3740; 345kV | 2020-04-29 | DISIS STAGE
GEN-2020-038 | DISIS-2020-001 | 02 NEBRASKA | Plattsmouth | NE | OPPD | 2023-04-30 | 2023-05-31 | 303 | 258 | 303 | ER/NR | Thermal | CT | Substation 3740; 345kV | 2020-04-29 | DISIS STAGE
GEN-2020-043 | DISIS-2020-001 | 02 NEBRASKA | Douglas County | NE | OPPD | 2023-04-30 | 2023-05-31 | 56.52 | 56.52 | 56.52 | ER/NR | Thermal | Reciprocating Engine | Between Substation 1209 and 1252; 161kV | 2020-04-29 | DISIS STAGE
GEN-2020-044 | DISIS-2020-001 | 02 NEBRASKA | Douglas County | NE | OPPD | 2023-04-30 | 2023-05-31 | 56.52 | 56.52 | 56.52 | ER/NR | Thermal | Reciprocating Engine | Between Substation 1209 and 1252; 161kV | 2020-04-29 | DISIS STAGE
GEN-2020-045 | DISIS-2020-001 | 02 NEBRASKA | Douglas County | NE | OPPD | 2023-04-30 | 2023-05-31 | 56.52 | 56.52 | 56.52 | ER/NR | Thermal | Reciprocating Engine | Between Substation 1209 and 1252; 161kV | 2020-04-29 | DISIS STAGE
GEN-2017-239 | DISIS-2017-002 | 05 SOUTHWEST | Yoakum | TX | SPS | 2023-06-01 | 2023-06-01 | 300 | 300 | 300 | ER | Solar |  | Mahoney 230kV Substation | 2017-11-30 | DISIS STAGE
GEN-2020-003 | DISIS-2020-001 | 03 CENTRAL | Winfield | KS | KPP | 2023-03-01 | 2023-06-01 | 58 | 58 | 58 | ER/NR | Thermal | Diesel/Gas | East Substation 69 kV | 2020-04-01 | DISIS STAGE
GEN-2018-027 | DISIS-2018-001 | 04 SOUTHEAST | Tulsa | OK | AEP | 2024-12-31 | 2023-10-15 | 100 | 100 | 100 | ER | Battery/Storage |  | Tulsa Power Station 38kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-031 | DISIS-2018-001 | 03 CENTRAL | Jackson | MO | INDN | 2024-12-31 | 2023-10-15 | 50 | 50 | 50 | ER | Battery/Storage |  | Blue Valley 161kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-033 | DISIS-2018-001 | 02 NEBRASKA | Cass | NE | OPPD | 2023-12-31 | 2023-10-15 | 200 | 200 | 200 | ER | Battery/Storage |  | Cass County 345kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-037 | DISIS-2018-001 | 02 NEBRASKA | Douglas | NE | OPPD | 2024-12-31 | 2023-10-15 | 100 | 100 | 100 | ER | Battery/Storage |  | Looping in OPPD (S1211) (S1220) (S1211) (S1299) 161kV | 2018-05-29 | DISIS STAGE
GEN-2020-083 | DISIS-2020-001 | 01 NORTH | Fairview | MT | WAPA | 2023-10-20 | 2023-11-21 | 74.5 | 74.5 | 74.5 | ER/NR | Solar |  | Fairview 115kV Substation | 2020-04-30 | DISIS STAGE
GEN-2017-119 | DISIS-2017-002 | 03 CENTRAL | Cloud/Mitchell | KS | SUNC | 2024-05-01 | 2023-12-15 | 180 | 180 | 180 | ER | Wind |  | Elm Creek 345kV substation | 2017-11-17 | DISIS STAGE
GEN-2018-083 | DISIS-2018-002 | 02 NEBRASKA | Madison | NE | NPPD | 2023-12-31 | 2023-12-31 | 250 | 250 | 250 | ER | Wind |  | Shell Creek-Hoskins 345kv Line Break | 2018-11-16 | DISIS STAGE
GEN-2019-074 | DISIS-2019-001 | 05 SOUTHWEST | Lamb | TX | SPS | 2023-12-31 | 2023-12-31 | 100 | 100 | 100 | ER | Battery/Storage |  | Plant X 230kV Substation | 2019-05-24 | DISIS STAGE
GEN-2020-025 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 | 2024-01-26 | 255 | 235 | 255 | ER/NR | Thermal | CT | Substation 1363; 161kV Substation | 2020-04-29 | DISIS STAGE
GEN-2020-028 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 | 2024-01-26 | 255 | 235 | 255 | ER/NR | Thermal | CT | Substation 1363; 161kV Substation | 2020-04-29 | DISIS STAGE
GEN-2020-027 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 | 2024-05-31 | 50 | 50 | 50 | ER/NR | Hybrid | Solar/Storage | S1281 ‚Äì S1362 161kV (S1363) | 2020-04-29 | DISIS STAGE
GEN-2020-030 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 | 2024-05-31 | 50 | 50 | 50 | ER/NR | Hybrid | Solar/Storage | S1281 ‚Äì S1362 161kV (S1363) | 2020-04-29 | DISIS STAGE
GEN-2021-081 | DISIS-2021-001 | 05 SOUTHWEST | Lea | NM | SPS | 2024-04-01 | 2024-06-01 | 55 | 55 | 55 | ER/NR | Solar |  | SPP / Lea County Electric Cooperative (LE) 69 kV transmission line | 2021-04-26 | DISIS STAGE
GEN-2021-GR1 |  |  | Independence | MO |  |  | 2024-06-01 | 88 | 88 | 98 | NRIS |  |  | Blue Valley Station 69 kV | 2022-03-31 | None
GEN-2020-056 | DISIS-2020-001 | 03 CENTRAL | Russell County | KS | SUNC | 2023-03-30 | 2024-07-15 | 20 | 20 | 20 | ER/NR | Solar |  | Russell 115 kV Substation | 2020-04-30 | DISIS STAGE
GEN-2021-080 | DISIS-2021-001 | 05 SOUTHWEST | Lea | NM | SPS | 2024-07-01 | 2024-09-01 | 100 | 100 | 100 | ER/NR | Solar |  | SPP / Lea County Electric Cooperative (LE) 69 kV | 2021-04-26 | DISIS STAGE
GEN-2021-082 | DISIS-2021-001 | 05 SOUTHWEST | Lea | NM | SPS | 2024-07-01 | 2024-09-01 | 80 | 80 | 80 | ER/NR | Solar |  | LE 69 kV Lewis substation | 2021-04-23 | DISIS STAGE
GEN-2021-083 | DISIS-2021-001 | 05 SOUTHWEST | Chaves | NM | SPS | 2024-07-01 | 2024-09-01 | 100 | 100 | 100 | ER/NR | Solar |  | SPP / Central Valley Electric Cooperative (CV) 69 kV transmission line | 2021-04-26 | DISIS STAGE
GEN-2017-115 | DISIS-2017-002 | 03 CENTRAL | Atchinson/Nodaway | MO | KCPL | 2027-05-01 | 2024-09-30 | 244 | 244 | 244 | ER | Wind |  | Holt County 345 kV | 2017-11-10 | DISIS STAGE
GEN-2017-120 | DISIS-2017-002 | 03 CENTRAL | Dickinson/Marion | KS | WERE | 2027-05-01 | 2024-09-30 | 260 | 260 | 260 | ER | Wind |  | Abilene Energy Center-Northview 115kV | 2017-11-17 | DISIS STAGE
GEN-2020-070 | DISIS-2020-001 | 03 CENTRAL | Osborne | KS | SUNC | 2024-09-30 | 2024-10-31 | 255 | 255 | 255 | ER/NR | Wind |  | Postrock to Axtell 345 KV line | 2020-04-30 | DISIS STAGE
GEN-2020-071 | DISIS-2020-001 | 03 CENTRAL | Osage and Shawnee | KS | WERE | 2024-09-30 | 2024-10-31 | 252 | 252 | 252 | ER/NR | Wind |  | Swissvale to Morris 230 KV line | 2020-04-30 | DISIS STAGE
GEN-2019-037 | DISIS-2019-001 | 01 NORTH | Mercer | ND | BEPC | 2023-12-01 | 2024-11-19 | 150 | 150 | 150 | ER/NR | Solar |  | Leland Olds 345kV substation | 2019-05-17 | DISIS STAGE
GEN-2021-072 | DISIS-2021-001 | 01 NORTH | Mercer | ND | BEPC | 2024-06-01 | 2024-12-01 | 600 | 600 | 600 | ER/NR | Solar |  | 345kV Transmission Line from Antelope Valley to Leland Olds Substation | 2021-05-19 | DISIS STAGE
GEN-2021-073 | DISIS-2021-001 | 02 NEBRASKA | Lincoln | NE | NPPD | 2024-06-01 | 2024-12-01 | 240 | 240 | 240 | ER/NR | Solar |  | 345 kV BUS at Gerald Gentleman Substation | 2021-05-19 | DISIS STAGE
GEN-2022-098 | DISIS-2022-001 | 04 SOUTHEAST | Johnston | OK | OGE | 2024-03-01 | 2024-12-01 | 200 | 200 | 200 | ER/NR | Solar |  | Bison 345kV Substation | 2022-12-06 | DISIS STAGE
GEN-2021-003 | DISIS-2021-001 | 01 NORTH | Richland | MT | WAPA | 2023-10-15 | 2024-12-15 | 75.5 | 75.5 | 75.5 | ER/NR | Solar |  | Fairview 115kV Substation | 2020-12-11 | DISIS STAGE
GEN-2021-001 | DISIS-2021-001 | 04 SOUTHEAST | Durant | OK | OGE | 2024-09-25 | 2024-12-24 | 100 | 100 | 100 | ER/NR | Battery/Storage |  | 138kV Brown Substation | 2020-12-29 | DISIS STAGE
GEN-2021-088 | DISIS-2021-001 | 04 SOUTHEAST | Cleveland | OK | WFEC | 2024-09-23 | 2024-12-24 | 100 | 100 | 100 | ER/NR | Battery/Storage |  | 138 kV Canadian SW Substation | 2021-04-29 | DISIS STAGE
GEN-2017-111 | DISIS-2017-002 | 03 CENTRAL | Bates | MO | KCPL | 2023-09-01 | 2024-12-31 | 152 | 152 | 152 | ER | Solar |  | Clinton ‚Äì Stilwell 161 kV Line Tap | 2017-11-27 | DISIS STAGE
GEN-2018-024 | DISIS-2018-001 | 04 SOUTHEAST | Muskogee | OK | OGE | 2023-10-15 | 2024-12-31 | 100 | 100 | 100 | ER | Battery/Storage |  | Canadian River-Muskogee and Muskogee-Seminole 345kV | 2018-05-28 | DISIS STAGE
GEN-2018-025 | DISIS-2018-001 | 02 NEBRASKA | Washington | NE | OPPD | 2023-10-15 | 2024-12-31 | 200 | 200 | 200 | ER | Battery/Storage |  | Fort Calhoun 345kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-026 | DISIS-2018-001 | 04 SOUTHEAST | Canadian | OK | OGE | 2023-10-15 | 2024-12-31 | 100 | 100 | 100 | ER | Battery/Storage |  | Mustang 138kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-028 | DISIS-2018-001 | 04 SOUTHEAST | Tulsa | OK | AEP | 2023-10-15 | 2024-12-31 | 200 | 200 | 200 | ER | Battery/Storage |  | Tulsa North 138kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-029 | DISIS-2018-001 | 04 SOUTHEAST | Oklahoma | OK | OGE | 2023-10-15 | 2024-12-31 | 100 | 100 | 100 | ER | Battery/Storage |  | Horseshoe Lake 138kV Substation | 2018-05-29 | DISIS STAGE
GEN-2018-030 | DISIS-2018-001 | 03 CENTRAL | Prowers | CO | SPS | 2023-10-15 | 2024-12-31 | 200 | 200 | 200 | ER | Battery/Storage |  | Lamar-Finney 345kV Substation | 2018-05-29 | DISIS STAGE
GEN-2021-005 | DISIS-2021-001 | 03 CENTRAL | Saline | KS | WERE | 2024-11-01 | 2025-03-01 | 350 | 350 | 350 | ER/NR | Battery/Storage |  | Summit 230kV substation in Saline County, KS | 2021-05-07 | DISIS STAGE
GEN-2020-059 | DISIS-2020-001 | 05 SOUTHWEST | Lovington | NM | SPS | 2025-03-02 | 2025-04-01 | 500 | 500 | 500 | ER/NR | Hybrid | Solar/Storage | Tuco-Yoakum-Hobbs 345 kV | 2020-04-29 | DISIS STAGE
GEN-2019-011 | DISIS-2019-001 | 05 SOUTHWEST | Yoakum | TX | SPS | 2023-05-01 | 2025-05-01 | 230 | 230 | 230 | ER/NR | Battery/Storage |  | Yoakum 345kV Substation | 2019-04-22 | DISIS STAGE
GEN-2019-012 | DISIS-2019-001 | 04 SOUTHEAST | Woodward | OK | OGE | 2023-05-01 | 2025-05-01 | 200 | 200 | 200 | ER/NR | Battery/Storage |  | Woodward 345kV substation | 2019-05-22 | DISIS STAGE
GEN-2019-052 | DISIS-2019-001 | 04 SOUTHEAST | Canadian | OK | OGE | 2023-06-01 | 2025-05-01 | 135 | 135 | 135 | ER/NR | Solar |  | Cimarron 345kV | 2019-05-24 | DISIS STAGE
GEN-2021-108 | DISIS-2021-001 | 02 NEBRASKA | Cass | NE | OPPD | 2025-05-27 | 2025-05-14 | 182.25 | 182.25 | 182.25 | ER/NR | Solar |  | OPPD 345KV Cass County Substation | 2021-05-20 | DISIS STAGE
GEN-2019-023 | DISIS-2019-001 | 01 NORTH | Wibaux | MT | WAPA | 2023-12-31 | 2025-06-01 | 110 | 110 | 110 | ER/NR | Hybrid | Wind/Storage | WAPA-UGP Mingusville 230kV | 2019-05-08 | DISIS STAGE
GEN-2020-082 | DISIS-2020-001 | 03 CENTRAL | Seward | KS | SUNC | 2023-03-30 | 2025-06-01 | 20 | 20 | 20 | ER/NR | Solar |  | Liberal 115 kV Substation | 2020-04-30 | DISIS STAGE
GEN-2021-038 | DISIS-2021-001 | 04 SOUTHEAST | Titus | TX | AEP | 2026-02-01 | 2025-06-01 | 200 | 201.32 | 201.32 | ER/NR | Battery/Storage |  | Welsh 345kV Substation | 2021-04-30 | DISIS STAGE
GEN-2021-039 | DISIS-2021-001 | 02 NEBRASKA | Cass | NE | OPPD | 2025-02-01 | 2025-06-01 | 100 | 200 | 200 | ER | Battery/Storage |  | OPPD District, North Omaha Power Plant Substation, 161kV Bus (S1211 Substation) | 2021-04-30 | DISIS STAGE
GEN-2021-040 | DISIS-2021-001 | 02 NEBRASKA | Cass | NE | OPPD | 2025-02-01 | 2025-06-01 | 200 | 400 | 400 | ER | Battery/Storage |  | OPPD District, Cass County Power Plant Substation, 345kV Bus | 2021-04-30 | DISIS STAGE
GEN-2021-041 | DISIS-2021-001 | 04 SOUTHEAST | Canadian | OK | OGE | 2025-02-01 | 2025-06-01 | 100 | 100.657 | 100.657 | ER/NR | Battery/Storage |  | Mustang 138kV Substation | 2021-04-30 | DISIS STAGE
GEN-2021-042 | DISIS-2021-001 | 03 CENTRAL | Jackson | MO | INDN | 2025-02-01 | 2025-06-01 | 50 | 100 | 100 | ER/NR | Battery/Storage |  | Independence Power & Light, Blue Valley Substation, 161kV Bus | 2021-04-30 | DISIS STAGE
GEN-2021-043 | DISIS-2021-001 | 02 NEBRASKA | Lancaster | NE | OPPD | 2026-02-01 | 2025-06-01 | 250 | 250 | 250 | ER | Battery/Storage |  | 8000 SW 12th (Rokeby) Station, 115kV Bus | 2021-04-30 | DISIS STAGE
GEN-2021-093 | DISIS-2021-001 | 04 SOUTHEAST | Oklahoma | OK | OGE | 2023-06-01 | 2025-06-01 | 109 | 109 | 132 | ER/NR | Thermal | Gas Turbine | Tinker | 2021-04-30 | DISIS STAGE
GEN-2022-009 | DISIS-2022-001 | 01 NORTH | Williams | ND | BEPC | 2023-07-01 | 2025-06-01 | 125 | 125 | 125 | ER | Thermal |  | Judson Substation 345 kV | 2022-05-26 | DISIS STAGE
GEN-2022-010 | DISIS-2022-001 | 01 NORTH | Williams | ND | BEPC | 2023-07-01 | 2025-06-01 | 250 | 250 | 250 | ER | Thermal |  | Judson Substation 345 kV | 2022-05-26 | DISIS STAGE
GEN-2020-069 | DISIS-2020-001 | 02 NEBRASKA | Cherry | NE | NPPD | 2023-11-30 | 2025-08-01 | 52.85 | 52.85 | 52.85 | ER/NR | Wind |  | Cody to Valentine 115kV line | 2020-04-24 | DISIS STAGE
GEN-2020-072 | DISIS-2020-001 | 03 CENTRAL | Windsor | MO | GMO | 2025-07-01 | 2025-08-01 | 150 | 150 | 150 | ER/NR | Hybrid | Solar/Storage | Windsor to AEC Sedalia 161 kV line | 2020-04-30 | DISIS STAGE
GEN-2020-073 | DISIS-2020-001 | 03 CENTRAL | Franklin | KS | KCPL | 2025-07-01 | 2025-08-01 | 190 | 190 | 190 | ER/NR | Hybrid | Solar/Storage | SE Ottawa to Pleasant Valley 161kV | 2020-04-30 | DISIS STAGE
GEN-2020-094 | DISIS-2020-001 | 02 NEBRASKA | Syracuse | NE | OPPD | 2023-04-02 | 2025-08-01 | 250 | 250 | 250 | ER/NR | Solar |  | Neb. City - 103rd & Rokeby 345 kV | 2020-04-30 | DISIS STAGE
GEN-2021-077 | DISIS-2021-001 | 03 CENTRAL | Pettis | MO | GMO | 2025-07-01 | 2025-08-01 | 150 | 150 | 150 | ER/NR | Solar |  | Windsor to AEC Sedalia 161 kV | 2021-04-30 | DISIS STAGE
GEN-2021-101 | DISIS-2021-001 | 03 CENTRAL | Douglas | KS | WERE | 2025-08-01 | 2025-09-01 | 159 | 159 | 159 | ER/NR | Solar |  | Evergy's Midland Substation 115kV bus | 2021-05-25 | DISIS STAGE
GEN-2021-102 | DISIS-2021-001 | 03 CENTRAL | Douglas | KS | WERE | 2025-08-01 | 2025-09-01 | 80 | 80 | 80 | ER/NR | Battery/Storage |  | Evergy's Midland Substation 115kV bus | 2021-05-25 | DISIS STAGE
GEN-2022-099 | DISIS-2022-001 | 04 SOUTHEAST | Pittsburg | OK | AEP | 2025-10-25 | 2025-10-01 | 200 | 200 | 200 | ER/NR | Hybrid | Solar/Storage | To Be Defined | 2022-12-15 | DISIS STAGE
GEN-2022-100 | DISIS-2022-001 | 04 SOUTHEAST | Pittsburg | OK | WFEC | 2025-10-25 | 2025-10-01 | 150 | 150 | 150 | ER/NR | Hybrid | Solar/Storage | To Be Defined | 2022-12-15 | DISIS STAGE
GEN-2020-077 | DISIS-2020-001 | 02 NEBRASKA | Thayer | NE | NPPD | 2023-11-30 | 2025-10-31 | 151.2 | 151.2 | 151.2 | ER | Wind |  | North Hebron to Fairbury 115 kV | 2020-04-28 | DISIS STAGE
GEN-2022-074 | DISIS-2022-001 | 04 SOUTHEAST | Eufaula, McIntosh | OK | WFEC | 2025-03-01 | 2025-10-31 | 242 | 254.8 | 254.8 | NR | Wind |  | Hanna 138kV Substation | 2022-09-06 | DISIS STAGE
GEN-2022-083 | DISIS-2022-001 | 01 NORTH | Williams | ND |  | 2025-06-01 | 2025-11-01 | 250 | 0 | 0 | ER | Thermal | CTG | Judson Substation 345 kV | 2022-10-21 | DISIS STAGE
GEN-2017-203 | DISIS-2017-002 | 04 SOUTHEAST | Grant/Kay | OK | OGE | 2023-07-01 | 2025-12-01 | 210 | 210 | 210 | ER | Hybrid | Solar | Renfrow 345kV Substation | 2017-11-30 | DISIS STAGE
GEN-2019-065 | DISIS-2019-001 | 04 SOUTHEAST | Smith | TX | AEP | 2024-06-01 | 2025-12-01 | 180 | 180 | 180 | ER | Battery/Storage |  | Overton-Northwest Henderson 138kV | 2019-05-23 | DISIS STAGE
GEN-2020-022 | DISIS-2020-001 | 03 CENTRAL | Finney County | KS | SUNC | 2023-11-01 | 2025-12-01 | 125 | 125 | 125 | ER/NR | Solar |  | Holcomb Substation 115KV | 2020-04-29 | DISIS STAGE
GEN-2020-023 | DISIS-2020-001 | 04 SOUTHEAST | Carrier | OK | OGE | 2025-04-01 | 2025-12-01 | 202 | 202 | 202 | ER/NR | Battery/Storage |  | Woodring 345 KV Station | 2020-04-07 | DISIS STAGE
GEN-2020-060 | DISIS-2020-001 | 05 SOUTHWEST | Lubbock | TX | SPS | 2026-05-01 | 2025-12-01 | 200 | 200 | 200 | ER | Battery/Storage |  | Lubbock East Substation 230 kV | 2020-04-30 | DISIS STAGE
GEN-2021-068 | DISIS-2021-001 | 03 CENTRAL | Hodgeman and Ford | KS | SUNC | 2025-09-01 | 2025-12-01 | 249.6 | 249.6 | 249.6 | ER | Wind |  | SUNC Spearville - Holcomb 345kV | 2021-04-26 | DISIS STAGE
GEN-2022-033 | DISIS-2022-001 | 05 SOUTHWEST | Chaves | NM | SPS | 2025-11-15 | 2025-12-01 | 200 | 200 | 200 | ER/NR | Hybrid | Solar/Storage | North Eddy - Chaves 230kV line | 2022-06-23 | DISIS STAGE
GEN-2018-106 | DISIS-2018-002 | 04 SOUTHEAST | Caddo | LA | AEP | 2023-12-31 | 2025-12-15 | 165 | 165 | 165 | ER | Solar |  | Longwood 345kV substation | 2018-11-02 | DISIS STAGE
GEN-2020-020 | DISIS-2020-001 | 04 SOUTHEAST | McCurtain | OK | AEP | 2025-05-15 | 2025-12-15 | 201.6 | 201.6 | 201.6 | ER/NR | Hybrid | Solar/Storage | Tap the 345 kV Northwest Texarkana - Valliant line | 2020-04-28 | DISIS STAGE
GEN-2020-052 | DISIS-2020-001 | 03 CENTRAL | Labette Co | KS | WERE | 2023-08-01 | 2025-12-15 | 251 | 251 | 251 | ER/NR | Wind |  | Neosho-Delaware 345 kV | 2020-04-29 | DISIS STAGE
GEN-2020-054 | DISIS-2020-001 | 04 SOUTHEAST | Bowie County | TX | AEP | 2023-08-01 | 2025-12-15 | 298 | 298 | 298 | ER/NR | Solar |  | Lydia 345 kV Station | 2020-04-27 | DISIS STAGE
GEN-2020-055 | DISIS-2020-001 | 04 SOUTHEAST | Bowie County | TX | AEP | 2023-08-01 | 2025-12-15 | 71 | 71 | 71 | ER/NR | Battery/Storage |  | Lydia 345 kV Station | 2020-04-27 | DISIS STAGE
GEN-2022-014 | DISIS-2022-001 | 03 CENTRAL | Butler | KS | WERE | 2024-06-01 | 2025-12-30 | 400 | 400 | 400 | NR | Hybrid | Solar | Tap of Wichita-Lang 345kV line | 2022-06-08 | DISIS STAGE
GEN-2020-007 | DISIS-2020-001 | 03 CENTRAL | Linn & Bates | KS | KCPL | 2023-07-01 | 2025-12-31 | 650 | 650 | 650 | ER/NR | Hybrid | Solar/Storage | Evergy La Cygne to Wolf Creek 345kV Substation | 2020-04-22 | DISIS STAGE
GEN-2020-009 | DISIS-2020-001 | 04 SOUTHEAST | Cotton | OK | AEP | 2026-10-15 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Hybrid | Solar/Storage | Lawton East Side to Oklaunion 345kV | 2020-04-08 | DISIS STAGE
GEN-2020-017 | DISIS-2020-001 | 05 SOUTHWEST | Lamb County | TX | SPS | 2025-10-01 | 2025-12-31 | 74.88 | 74.88 | 74.88 | ER/NR | Solar |  | 230kV Lamb County Interchange | 2020-04-24 | DISIS STAGE
GEN-2020-021 | DISIS-2020-001 | 01 NORTH | Sioux County | ND | BEPC | 2023-11-30 | 2025-12-31 | 235 | 235 | 235 | ER/NR | Wind |  | LeLand Olds-Chapelle Creek 345kV line | 2020-04-24 | DISIS STAGE
GEN-2020-079 | DISIS-2020-001 | 03 CENTRAL | Cherokee | KS | EDE | 2025-07-01 | 2025-12-31 | 225 | 225 | 225 | ER/NR | Hybrid | Solar/Storage | Riverton-Neosho 161kV line | 2020-04-30 | DISIS STAGE
GEN-2021-007 | DISIS-2021-001 | 02 NEBRASKA | Knox and Cedar | NE | NPPD | 2025-09-30 | 2025-12-31 | 600 | 600 | 600 | ER/NR | Wind |  | 345kV bus of Turtle Creek Substation | 2021-05-10 | DISIS STAGE
GEN-2021-011 | DISIS-2021-001 | 03 CENTRAL | Cloud and Mitchell | KS | ITCGP | 2027-04-01 | 2025-12-31 | 74.9 | 75.99 | 75.99 | ER/NR | Solar |  | Elm Creek 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-013 | DISIS-2021-001 | 03 CENTRAL | Lincoln | KS | MIDW | 2023-11-15 | 2025-12-31 | 74.9 | 75.89 | 75.89 | ER/NR | Battery/Storage |  | Smoky Hills Tap 230kV | 2021-04-30 | DISIS STAGE
GEN-2021-015 | DISIS-2021-001 | 04 SOUTHEAST | Ellis | OK | OGE | 2027-04-01 | 2025-12-31 | 74.9 | 75.91 | 75.91 | ER/NR | Solar |  | Bobcat 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-017 | DISIS-2021-001 | 03 CENTRAL | Cloud and Mitchell | KS | ITCGP | 2025-04-01 | 2025-12-31 | 74.9 | 76.49 | 76.49 | ER/NR | Wind |  | Elm Creek 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-048 | DISIS-2021-001 | 02 NEBRASKA | Lancaster | NE | LES | 2025-07-31 | 2025-12-31 | 75 | 75 | 75 | ER/NR | Battery/Storage |  | Wagener 115kV Substation | 2021-04-30 | DISIS STAGE
GEN-2021-049 | DISIS-2021-001 | 02 NEBRASKA | Lancaster | NE | LES | 2025-07-31 | 2025-12-31 | 250 | 250 | 250 | ER/NR | Solar |  | Wagener 115kV Substation | 2021-04-30 | DISIS STAGE
GEN-2021-050 | DISIS-2021-001 | 03 CENTRAL | Henry | MO | KCPL | 2025-07-31 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | 161kV Stilwell-Clinton Line | 2021-04-30 | DISIS STAGE
GEN-2021-051 | DISIS-2021-001 | 03 CENTRAL | Henry | MO | KCPL | 2025-07-31 | 2025-12-31 | 75 | 75 | 75 | ER/NR | Battery/Storage |  | 161kV Stilwell-Clinton Line | 2021-04-30 | DISIS STAGE
GEN-2021-054 | DISIS-2021-001 | 04 SOUTHEAST | Terry | TX | SPS |  | 2025-12-31 | 150 | 150 | 150 | ER/NR | Solar |  | Flatlands 115 kV Substation | 2021-04-29 | DISIS STAGE
GEN-2021-056 | DISIS-2021-001 | 04 SOUTHEAST | Harper and Kingman | KS | WERE |  | 2025-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Viola 345kV Substation | 2021-04-29 | DISIS STAGE
GEN-2021-059 | DISIS-2021-001 | 03 CENTRAL | Jasper | MO | EMDE |  | 2025-12-31 | 130 | 130 | 130 | ER/NR | Solar |  | Ashbury 161 kV Substation | 2021-04-29 | DISIS STAGE
GEN-2021-061 | DISIS-2021-001 | 02 NEBRASKA | Sedgwick | KS | WERE |  | 2025-12-31 | 100 | 100 | 100 | ER/NR | Solar |  | Gordan Evans 138 kV Substation | 2021-04-29 | DISIS STAGE
GEN-2021-062 | DISIS-2021-001 | 02 NEBRASKA | Lea | NM | SPS |  | 2025-12-31 | 110 | 110 | 110 | ER/NR | Solar |  | Roadrunner 115 kV Substation | 2021-04-29 | DISIS STAGE
GEN-2022-001 | DISIS-2022-001 | 04 SOUTHEAST | Rogers | OK | AEP | 2025-09-23 | 2025-12-31 | 100 | 100 | 100 | ER/NR | Battery/Storage |  | Line tap of Catoosa-Elm Creek line approximately 0.75 miles NW of Catoosa substation | 2021-12-30 | DISIS STAGE
GEN-2022-011 | DISIS-2022-001 | 01 NORTH | Stark | ND | BEPC | 2024-06-01 | 2025-12-31 | 374 | 374 | 374 | NR | Solar |  | 230kV Daglum Substation | 2022-06-03 | DISIS STAGE
GEN-2022-012 | DISIS-2022-001 | 01 NORTH | Stark | ND | BEPC | 2024-06-01 | 2025-12-31 | 100 | 100 | 100 | NR | Battery/Storage |  | 230kV Daglum Substation | 2022-06-08 | DISIS STAGE
GEN-2022-013 | DISIS-2022-001 | 03 CENTRAL | Butler | KS | WERE | 2024-06-01 | 2025-12-31 | 300 | 300 | 300 | NR | Solar |  | Tap of Wichita-Lang 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-015 | DISIS-2022-001 | 03 CENTRAL | Butler | KS | WERE | 2024-06-01 | 2025-12-31 | 300 | 300 | 300 | NR | Solar |  | Tap of Wichita-Lang 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-016 | DISIS-2022-001 | 04 SOUTHEAST | Woodward | OK | OGE | 2024-06-01 | 2025-12-31 | 288 | 288 | 288 | NR | Solar |  | Woodward 345kV Substation | 2022-06-08 | DISIS STAGE
GEN-2022-017 | DISIS-2022-001 | 04 SOUTHEAST | Woodward | OK | OGE | 2024-06-06 | 2025-12-31 | 150 | 150 | 150 | NR | Battery/Storage |  | Woodward 345kV Substation | 2022-06-08 | DISIS STAGE
GEN-2022-018 | DISIS-2022-001 | 02 NEBRASKA | Knox | NE | WAPA | 2024-06-01 | 2025-12-31 | 250 | 250 | 250 | NR | Solar |  | Tap of Grand Prairie--Ft Thompson 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-019 | DISIS-2022-001 | 02 NEBRASKA | Knox | NE | WAPA | 2024-06-01 | 2025-12-31 | 100 | 100 | 100 | NR | Battery/Storage |  | Tap of Grand Prairie--Ft Thompson 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-020 | DISIS-2022-001 | 01 NORTH | Walworth | SD | BEPC | 2024-06-01 | 2025-12-31 | 355 | 355 | 355 | NR | Solar |  | Tap of Ft Thompson--Leland 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-021 | DISIS-2022-001 | 01 NORTH | Walworth | SD | BEPC | 2024-06-01 | 2025-12-31 | 100 | 100 | 100 | NR | Battery/Storage |  | Tap of Ft Thompson--Leland 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-022 | DISIS-2022-001 | 05 SOUTHWEST | Chavez | NM | SPS | 2024-06-01 | 2025-12-31 | 300 | 300 | 300 | NR | Solar |  | San Juan Tap 230kv substation | 2022-06-08 | DISIS STAGE
GEN-2022-023 | DISIS-2022-001 | 05 SOUTHWEST | Chavez | NM | SPS | 2024-06-01 | 2025-12-31 | 175 | 175 | 175 | NR | Battery/Storage |  | San Juan Tap 230kv substation | 2022-06-08 | DISIS STAGE
GEN-2022-024 | DISIS-2022-001 | 03 CENTRAL | Decatur | KS | SUNC | 2024-06-01 | 2025-12-31 | 200 | 200 | 200 | NR | Battery/Storage |  | Tap of Mingo--Red Willow 345kV line | 2022-06-10 | DISIS STAGE
GEN-2022-025 | DISIS-2022-001 | 03 CENTRAL | Decatur | KS | SUNC | 2024-06-01 | 2025-12-31 | 200 | 200 | 200 | NR | Solar |  | Tap of Mingo--Red Willow 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-026 | DISIS-2022-001 | 03 CENTRAL | Decatur | KS | SUNC | 2024-06-01 | 2025-12-31 | 200 | 200 | 200 | NR | Solar |  | Tap of Mingo--Red Willow 345kV line | 2022-06-08 | DISIS STAGE
GEN-2022-034 | DISIS-2022-001 | 01 NORTH | Union | SD | WAPA | 2025-04-01 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Spring Mound Station | 2022-06-23 | DISIS STAGE
GEN-2022-035 | DISIS-2022-001 | 05 SOUTHWEST | Lamb | TX | SWPA | 2025-04-01 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Tolk 345 kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-036 | DISIS-2022-001 | 05 SOUTHWEST | Lamb | TX | SWPA | 2025-04-01 | 2025-12-31 | 1000 | 1000 | 1000 | ER/NR | Solar |  | Tolk 345 kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-037 | DISIS-2022-001 | 01 NORTH | Burke | ND | BEPC | 2025-04-01 | 2025-12-31 | 181 | 181 | 181 |  | Wind |  | Pioneer 115 kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-038 | DISIS-2022-001 | 05 SOUTHWEST | Harrison | TX | AEP | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | Longwood to Marshall 138 kV line | 2022-06-23 | DISIS STAGE
GEN-2022-039 | DISIS-2022-001 | 02 NEBRASKA | Gage | NE | NPPD | 2025-04-01 | 2025-12-31 | 185 | 185 | 185 | ER/NR | Wind |  | Steele City 115 kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-040 | DISIS-2022-001 | 04 SOUTHEAST | Stephens | OK | WFEC | 2025-04-01 | 2025-12-31 | 250 | 250 | 250 | ER/NR | Solar |  | Comanche Switching Station | 2022-06-23 | DISIS STAGE
GEN-2022-041 | DISIS-2022-001 | 03 CENTRAL | Cowley | KS | WERE | 2025-04-01 | 2025-12-31 | 100 | 100 | 100 | ER/NR | Solar |  | Tie Substation 69 kV | 2022-06-29 | DISIS STAGE
GEN-2022-042 | DISIS-2022-001 | 04 SOUTHEAST | Carter | OK | OGE | 2025-04-01 | 2025-12-31 | 174 | 174 | 174 | ER/NR | Solar |  | Sunnyside to Pooleville 138 kV line | 2022-06-23 | DISIS STAGE
GEN-2022-043 | DISIS-2022-001 | 05 SOUTHWEST | Briscoe | TX | SPS | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | Tule Canyon (Silverton) 345kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-044 | DISIS-2022-001 | 02 NEBRASKA | Wayne and Pierce | NE | NPPD | 2025-04-01 | 2025-12-31 | 80 | 80 | 80 | ER/NR | Battery/Storage |  | Hoskins 345 kV | 2022-06-23 | DISIS STAGE
GEN-2022-045 | DISIS-2022-001 | 03 CENTRAL | Little River | AR | AEP | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Battery/Storage |  | South Foreman | 2022-06-23 | DISIS STAGE
GEN-2022-046 | DISIS-2022-001 | 02 NEBRASKA | Webster and Franklin | NE | ITCGP | 2025-04-01 | 2025-12-31 | 150 | 150 | 150 | ER/NR | Battery/Storage |  | Axtell to Post Rock 345 kV Line Tap | 2022-06-23 | DISIS STAGE
GEN-2022-047 | DISIS-2022-001 | 03 CENTRAL | Little River | AR | AEP | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | South Foreman | 2022-06-23 | DISIS STAGE
GEN-2022-048 | DISIS-2022-001 | 04 SOUTHEAST | Woodward | OK | WFEC | 2025-04-01 | 2025-12-31 | 250 | 250 | 250 | ER/NR | Wind |  | Mooreland 138 kV | 2022-06-23 | DISIS STAGE
GEN-2022-049 | DISIS-2022-001 | 03 CENTRAL | Franklin | AR | AEP | 2025-04-01 | 2025-12-31 | 150 | 150 | 150 | ER/NR | Battery/Storage |  | Grand Prairie 138 kV Tap | 2022-06-23 | DISIS STAGE
GEN-2022-050 | DISIS-2022-001 | 02 NEBRASKA | Dawson and Buffalo | NE | NPPD | 2025-04-01 | 2025-12-31 | 272 | 272 | 272 | ER/NR | Wind |  | Crooked Creek 230 kV | 2022-06-23 | DISIS STAGE
GEN-2022-051 | DISIS-2022-001 | 04 SOUTHEAST | Bossier | LA | AEP | 2025-04-01 | 2025-12-31 | 325 | 325 | 325 | ER/NR | Battery/Storage |  | Longwood to Sarepta 345 kV Line Tap | 2022-06-23 | DISIS STAGE
GEN-2022-052 | DISIS-2022-001 | 04 SOUTHEAST | Bossier | LA | AEP | 2025-04-01 | 2025-12-31 | 850 | 850 | 850 | ER/NR | Solar |  | Longwood to Sarepta 345 kV Line Tap | 2022-06-23 | DISIS STAGE
GEN-2022-053 | DISIS-2022-001 | 03 CENTRAL | Barton | MO | WERE | 2025-04-01 | 2025-12-31 | 137.5 | 137.5 | 137.5 | ER/NR | Solar |  | Wolf Creek-Blackberry 345 kV | 2022-06-23 | DISIS STAGE
GEN-2022-054 | DISIS-2022-001 | 04 SOUTHEAST | Stephens | OK | AEP | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | Lawton to Sunnyside 345 kV | 2022-06-23 | DISIS STAGE
GEN-2022-055 | DISIS-2022-001 | 04 SOUTHEAST | Grady | OK | WFEC | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | Sunshine North to Anadarko 138 kV | 2022-06-23 | DISIS STAGE
GEN-2022-056 | DISIS-2022-001 | 05 SOUTHWEST | Lamb | TX | SWPA | 2025-04-01 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Solar |  | Plant X 230kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-057 | DISIS-2022-001 | 02 NEBRASKA |  | NE | Tri-State | 2025-04-01 | 2025-12-31 | 87 | 87 | 87 | ER/NR | Solar |  | Elsie Tap 115 kV | 2022-06-23 | DISIS STAGE
GEN-2022-058 | DISIS-2022-001 | 03 CENTRAL | Benton | AR | EDE | 2025-04-01 | 2025-12-31 | 180 | 180 | 180 | ER/NR | Solar |  | Noel Southwest (Sub 435) Decatur 161 kV | 2022-06-23 | DISIS STAGE
GEN-2022-059 | DISIS-2022-001 | 03 CENTRAL | Stevens | KS | SWPA | 2025-04-01 | 2025-12-31 | 500 | 500 | 500 | ER/NR | Wind |  | Carpenter 345 kV | 2022-06-23 | DISIS STAGE
GEN-2022-062 | DISIS-2022-001 | 03 CENTRAL | Bourbon | KS | WERE | 2025-04-01 | 2025-12-31 | 200 | 200 | 200 | ER/NR | Solar |  | Wolf Creek- Blackberry 345 kV | 2022-07-08 | DISIS STAGE
GEN-2022-063 | DISIS-2022-001 | 05 SOUTHWEST | Hutchinson | TX | SPS | 2025-06-01 | 2025-12-31 | 350 | 350 | 350 | NR | Solar |  | Pringle 230-115 kV Substation | 2022-07-13 | DISIS STAGE
GEN-2022-072 | DISIS-2022-001 | 04 SOUTHEAST | Mayes | OK | WERE | 2025-07-01 | 2025-12-31 | 181 | 181 | 181 | ER/NR | Solar |  | Choteau 138 kV Substation | 2022-08-12 | DISIS STAGE
GEN-2022-073 | DISIS-2022-001 | 03 CENTRAL | Kay | MO | WERE | 2025-04-01 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Battery/Storage |  | Nashua 345kV Substation | 2022-09-02 | DISIS STAGE
GEN-2022-076 | DISIS-2022-001 | 04 SOUTHEAST | Stevens | OK | SPS | 2025-04-30 | 2025-12-31 | 300 | 300 | 300 | ER/NR | Solar |  | Carpenter 345 kV Substation | 2022-09-07 | DISIS STAGE
GEN-2022-081 | DISIS-2022-001 | 05 SOUTHWEST | Johnston | OK | OGE | 2025-04-01 | 2025-12-31 | 218 | 218 | 218 | ER/NR | Solar |  | Johnson County 345 kV Substation | 2022-09-22 | DISIS STAGE
GEN-2022-082 | DISIS-2022-001 | 04 SOUTHEAST | Johnson | OK | OGE | 2025-04-01 | 2025-12-31 | 180 | 180 | 180 | ER/NR | Solar |  | Johnson County 345 kV Substation | 2022-09-22 | DISIS STAGE
GEN-2022-085 | DISIS-2022-001 | 04 SOUTHEAST | Ofuskee and Hughes | OK | OGE | 2025-09-01 | 2025-12-31 | 241.4 | 241.4 | 241.4 | ER/NR | Wind |  | Seminole to Muskogee 345kV Substation | 2022-11-05 | DISIS STAGE
GEN-2021-006 | DISIS-2021-001 | 03 CENTRAL | Labette | KS | WERE | 2025-10-01 | 2026-02-01 | 300 | 300 | 300 | ER/NR | Battery/Storage |  | Neosho 345kV substation in Labette County, KS | 2021-05-07 | DISIS STAGE
GEN-2022-071 | DISIS-2022-001 | 04 SOUTHEAST | Pittsburg | OK | AEP | 2025-11-03 | 2026-02-02 | 90.824 | 90.824 | 90.824 | NR | Solar |  | Talawanda to Canadian River 138 kV Line Tap | 2022-08-12 | DISIS STAGE
GEN-2021-064 | DISIS-2021-001 | 04 SOUTHEAST | Caddo | OK | AEP | 2025-10-25 | 2026-02-08 | 100 | 100 | 100 | ER/NR | Hybrid | Solar | Carnegie South 138kV | 2021-04-28 | DISIS STAGE
GEN-2020-062 | DISIS-2020-001 | 05 SOUTHWEST | Curry | NM | SPS | 2023-11-01 | 2026-03-01 | 256 | 256 | 256 | ER | Solar |  | OASIS 230kV Substation | 2020-04-29 | DISIS STAGE
GEN-2020-063 | DISIS-2020-001 | 05 SOUTHWEST | Roosevelt | NM | SPS | 2023-11-01 | 2026-03-01 | 184 | 184 | 184 | ER | Solar |  | San Juan Mesa 230 kV Line | 2020-04-29 | DISIS STAGE
GEN-2021-009 | DISIS-2021-001 | 01 NORTH | Beadle | SD | WAPA | 2025-11-01 | 2026-03-01 | 225 | 225 | 225 | ER/NR | Battery/Storage |  | Carpenter 230kV substation in Clark county, South Dakota | 2021-05-11 | DISIS STAGE
GEN-2022-GR1 |  |  | Hallsville | TX |  |  | 2026-03-30 | 580 | 580 | 580 | ERIS |  |  | Pirkey 138 kV | 2022-03-23 | None
GEN-2019-051 | DISIS-2019-001 | 03 CENTRAL | Barton | KS | SUNC | 2023-06-01 | 2026-05-01 | 40 | 40 | 40 | ER/NR | Battery/Storage |  | Frey St 115kV bus | 2019-05-24 | DISIS STAGE
GEN-2019-053 | DISIS-2019-001 | 03 CENTRAL | Edwards/Pawnee | KS | SUNC | 2023-06-01 | 2026-05-01 | 50 | 50 | 50 | ER/NR | Battery/Storage |  | Great Bend-Spearville 230kV line | 2019-05-24 | DISIS STAGE
GEN-2019-054 | DISIS-2019-001 | 03 CENTRAL | Barton | KS | SUNC | 2023-06-01 | 2026-05-01 | 150 | 150 | 150 | ER/NR | Solar |  | Great Bend- Circle 230kV line | 2019-05-24 | DISIS STAGE
GEN-2019-055 | DISIS-2019-001 | 03 CENTRAL | Edwards, Pawnee | KS | SUNC | 2023-06-01 | 2026-05-01 | 150 | 150 | 150 | ER/NR | Solar |  | Great Bend-Spearville 230kV line | 2019-05-24 | DISIS STAGE
GEN-2019-058 | DISIS-2019-001 | 03 CENTRAL | Ford, Clark | KS | ITCGP | 2023-06-01 | 2026-05-01 | 150 | 150 | 150 | ER/NR | Solar |  | Clark County 345kV substation | 2019-05-24 | DISIS STAGE
GEN-2019-063 | DISIS-2019-001 | 03 CENTRAL | Ford, Clark | KS | ITCGP | 2023-06-01 | 2026-05-01 | 50 | 50 | 50 | ER/NR | Battery/Storage |  | Clark County 345kV substation | 2019-05-24 | DISIS STAGE
GEN-2019-066 | DISIS-2019-001 | 04 SOUTHEAST | Beckham | OK | AEP | 2023-06-01 | 2026-05-01 | 50 | 50 | 50 | ER/NR | Battery/Storage |  | Sweetwater 230kV substation | 2019-05-24 | DISIS STAGE
GEN-2019-067 | DISIS-2019-001 | 04 SOUTHEAST | Canadian | OK | OGE | 2023-06-01 | 2026-05-01 | 30 | 30 | 30 | ER/NR | Battery/Storage |  | Cimarron 345kV | 2019-05-24 | DISIS STAGE
GEN-2019-068 | DISIS-2019-001 | 03 CENTRAL | Barton | KS | SUNC | 2023-06-01 | 2026-05-01 | 50 | 50 | 50 | ER/NR | Battery/Storage |  | Great Bend - Circle 230kV line | 2019-05-24 | DISIS STAGE
GEN-2020-065 | DISIS-2020-001 | 05 SOUTHWEST | Gaines | NM | SPS | 2025-12-01 | 2026-05-01 | 1003 | 912.3 | 1003 | ER | Thermal | Combined Cycle | Hobbs-Andrews 345 kV Line | 2020-04-30 | DISIS STAGE
GEN-2021-052 | DISIS-2021-001 | 04 SOUTHEAST | Muskogee | OK | OGE |  | 2026-05-30 | 75 | 75 | 75 | ER/NR | Battery/Storage |  | Pecan Creek 345kV substation | 2021-04-29 | DISIS STAGE
GEN-2021-053 | DISIS-2021-001 | 04 SOUTHEAST | Muskogee | OK | OGE |  | 2026-05-30 | 300 | 300 | 300 | ER/NR | Solar |  | Pecan Creek 345 kV Substation | 2021-04-29 | DISIS STAGE
GEN-2022-002 | DISIS-2022-001 | 03 CENTRAL | Finney | KS | SUNC | 2025-06-30 | 2026-06-30 | 150 | 150 | 150 | NR | Solar |  | Holcomb-Setab 345 kV Tap Line | 2022-05-24 | DISIS STAGE
GEN-2022-003 | DISIS-2022-001 | 03 CENTRAL | Jackson | OK | AEP | 2025-06-30 | 2026-06-30 | 125 | 125 | 125 | NR | Solar |  | Russell 138 kV Substation | 2022-05-24 | DISIS STAGE
GEN-2022-031 | DISIS-2022-001 | 03 CENTRAL | Jackson County | MO | GMO | 2025-09-30 | 2026-06-30 | 100 | 100 | 100 | ER/NR | Battery/Storage |  | Duncan Road 161 kV Substation | 2022-06-22 | DISIS STAGE
GEN-2022-084 | DISIS-2022-001 | 03 CENTRAL | Jasper | MO |  | 2026-02-01 | 2026-07-01 | 11.45 | 11.45 | 11.45 | NR | Solar |  | POI-Galena 69 kV interconnection substation through a 0.50 mile 69 kV gen-tie line | 2022-10-18 | DISIS STAGE
GEN-2021-103 | DISIS-2021-001 | 03 CENTRAL | Johnson | KS | WERE | 2025-08-01 | 2026-09-01 | 150 | 150 | 150 | ER/NR | Battery/Storage |  | Evergy's Atlantic Substation115kV bus | 2021-05-25 | DISIS STAGE
GEN-2022-088 | DISIS-2022-001 | 03 CENTRAL | Little River | AR |  | 2026-09-30 | 2026-09-30 | 74.99 | 74.99 | 74.99 | ER/NR | Solar |  | South Foreman Substation 138kV | 2022-11-15 | DISIS STAGE
GEN-2022-089 | DISIS-2022-001 | 03 CENTRAL | Little River | AR |  | 2026-09-30 | 2026-09-30 | 74.99 | 74.99 | 74.99 | ER/NR | Battery/Storage |  | South Foreman Substation 138kV | 2022-11-15 | DISIS STAGE
GEN-2022-090 | DISIS-2022-001 | 04 SOUTHEAST | McCurtain | OK |  | 2026-09-30 | 2026-09-30 | 150 | 150 | 150 | ER/NR | Solar |  | Valiant Substation 138kV | 2022-11-15 | DISIS STAGE
GEN-2022-091 | DISIS-2022-001 | 04 SOUTHEAST | McCurtain | OK |  | 2026-09-30 | 2026-09-30 | 150 | 150 | 150 | ER/NR | Battery/Storage |  | Valiant Substation 138kV | 2022-11-15 | DISIS STAGE
GEN-2020-074 | DISIS-2020-001 | 04 SOUTHEAST | Carter | OK | AEP | 2023-03-31 | 2026-10-01 | 200 | 200 | 200 | ER/NR | Battery/Storage |  | Lawton to Sunnyside 345 kV Substation | 2020-04-28 | DISIS STAGE
GEN-2020-075 | DISIS-2020-001 | 04 SOUTHEAST | Comanche | OK | AEP | 2023-05-01 | 2026-10-01 | 200 | 200 | 200 | ER/NR | Battery/Storage |  | Cimmarron to Lawton 345 kV Line | 2020-04-28 | DISIS STAGE
GEN-2020-085 | DISIS-2020-001 | 04 SOUTHEAST | Carter | OK | AEP | 2023-04-02 | 2026-10-01 | 500 | 500 | 500 | ER/NR | Solar |  | Lawton to Sunnyside 345 kV Line | 2020-04-23 | DISIS STAGE
GEN-2020-087 | DISIS-2020-001 | 04 SOUTHEAST | Comanche | OK | AEP | 2023-05-01 | 2026-10-01 | 500 | 500 | 500 | ER/NR | Solar |  | Cimmarron to Lawton 345 kV Line | 2020-04-23 | DISIS STAGE
GEN-2021-047 | DISIS-2021-001 | 04 SOUTHEAST | Mayes | OK | GRDA | 2026-03-01 | 2026-10-01 | 250 | 250 | 250 | ER | Solar |  | Tulsa North - Grand River Energy Center Tap 345 kV Line | 2021-04-29 | DISIS STAGE
GEN-2021-063 | DISIS-2021-001 | 04 SOUTHEAST | McCurtain | OK | AEP | 2025-10-25 | 2026-10-01 | 155 | 155 | 155 | ER/NR | Hybrid | Solar | Craig JCT 138kV | 2021-04-28 | DISIS STAGE
GEN-2021-067 | DISIS-2021-001 | 04 SOUTHEAST | Delaware | OK | AEP | 2025-10-25 | 2026-10-01 | 100 | 100 | 100 | ER/NR | Hybrid | Solar/Storage | Tap Grove - Jay 138kV | 2021-04-28 | DISIS STAGE
GEN-2022-004 | DISIS-2022-001 | 03 CENTRAL | Sedgwick | KS | WERE | 2025-08-01 | 2026-10-31 | 33 | 33 | 33 | NR | Solar |  | Murray Gill 138 kV Substation | 2022-05-26 | DISIS STAGE
GEN-2022-005 | DISIS-2022-001 | 03 CENTRAL | Labette | KS | WERE | 2025-04-01 | 2026-10-31 | 200 | 200 | 200 | NR | Solar |  | Northeast Parsons 138kV SubstationEPARSN4) | 2022-05-25 | DISIS STAGE
GEN-2022-006 | DISIS-2022-001 | 03 CENTRAL | Labette | KS | WERE | 2025-04-01 | 2026-10-31 | 200 | 200 | 200 | NR | Solar |  | Neosho 161 kV Substation (532937 NEOSHO 5) | 2022-05-25 | DISIS STAGE
GEN-2022-007 | DISIS-2022-001 | 03 CENTRAL | Lyon | KS | WERE | 2025-05-01 | 2026-10-31 | 135 | 135 | 135 | NR | Solar |  | Lang 115 kV Substation (533304 LANG 3) | 2022-05-26 | DISIS STAGE
GEN-2022-068 | DISIS-2022-001 | 01 NORTH | Hyde | SD | BEPC | 2026-07-01 | 2026-11-01 | 250 | 250 | 250 | ER/NR | Wind |  | Chappelle Creek 345 kV | 2022-08-11 | DISIS STAGE
GEN-2022-069 | DISIS-2022-001 | 01 NORTH | Hyde | SD | BEPC | 2027-07-01 | 2026-11-01 | 250 | 250 | 250 | ER/NR | Wind |  | Chappelle Creek 345 kV | 2022-08-11 | DISIS STAGE
GEN-2022-070 | DISIS-2022-001 | 01 NORTH | Hyde | SD | BEPC | 2026-07-01 | 2026-11-01 | 250 | 250 | 250 | ER/NR | Wind |  | Chappelle Creek 345 kV | 2022-08-11 | DISIS STAGE
GEN-2020-091 | DISIS-2020-001 | 01 NORTH | McKenzie | ND | BEPC | 2025-11-02 | 2026-11-19 | 150 | 150 | 150 | ER/NR | Solar |  | Patent Gate Substation 345 kV | 2020-04-30 | DISIS STAGE
GEN-2020-092 | DISIS-2020-001 | 04 SOUTHEAST | Mayes County | OK | AEP | 2025-11-02 | 2026-11-19 | 100 | 100 | 100 | ER/NR | Solar |  | Pryor Junction - Midwest Carbide 138kV line | 2020-04-30 | DISIS STAGE
GEN-2020-093 | DISIS-2020-001 | 01 NORTH | Potter County | SD | BEPC | 2025-11-14 | 2026-11-19 | 150 | 150 | 150 | ER/NR | Solar |  | Whitlock Substation 230 kV | 2020-04-30 | DISIS STAGE
GEN-2021-023 | DISIS-2021-001 | 03 CENTRAL | Grant | KS | WERE | 2026-09-30 | 2026-11-30 | 306.18 | 306.18 | 306.18 | ER/NR | Solar |  | Wild Plains 345kV Substation | 2021-05-14 | DISIS STAGE
GEN-2017-175 | DISIS-2017-002 | 01 NORTH | Turner | SD | WAPA | 2023-09-30 | 2026-12-01 | 300 | 300 | 300 | ER | Wind |  | Vfodnes-Utica Jct. 230kV | 2017-11-29 | DISIS STAGE
GEN-2020-057 | DISIS-2020-001 | 03 CENTRAL | Garner | KS | WERE | 2026-11-01 | 2026-12-01 | 424.5 | 424.5 | 424.2 | ER/NR | Battery/Storage |  | Atlantic 345 kV Substation | 2020-04-30 | DISIS STAGE
GEN-2020-058 | DISIS-2020-001 | 03 CENTRAL | Garner | KS | KCPL | 2026-11-01 | 2026-12-01 | 424.5 | 424.5 | 424.5 | ER/NR | Solar |  | Craig-West Gardner 345 kV | 2020-04-30 | DISIS STAGE
GEN-2020-067 | DISIS-2020-001 | 05 SOUTHWEST | Terry & Hockley | TX | SPS | 2024-11-01 | 2026-12-01 | 352.5 | 352.5 | 352.5 | ER/NR | Wind |  | Tuco to Yoakum 345kV line | 2020-04-24 | DISIS STAGE
GEN-2020-068 | DISIS-2020-001 | 05 SOUTHWEST | Terry & Hockley | TX | SPS | 2024-11-01 | 2026-12-01 | 400 | 400 | 400 | ER/NR | Solar |  | Tuco to Yoakum 345kV line | 2020-04-29 | DISIS STAGE
GEN-2020-089 | DISIS-2020-001 | 03 CENTRAL | Allen, Bourbon | KS | WERE | 2026-11-01 | 2026-12-01 | 104 | 104 | 104 | ER/NR | Solar |  | Dakota 161 kV Substation | 2020-04-27 | DISIS STAGE
GEN-2020-090 | DISIS-2020-001 | 03 CENTRAL | Bourbon | KS | WERE | 2026-04-01 | 2026-12-01 | 204.3 | 204.3 | 204.3 | ER/NR | Solar |  | Wolf Creek- Blackberry 345 kV Substation | 2020-04-27 | DISIS STAGE
GEN-2021-025 | DISIS-2021-001 | 04 SOUTHEAST | Woodward | OK | WFEC | 2025-10-31 | 2026-12-01 | 203.04 | 203.04 | 203.04 | ER/NR | Wind |  | Western Farmers 138kV Mooreland Substation | 2021-05-14 | DISIS STAGE
GEN-2021-031 | DISIS-2021-001 | 04 SOUTHEAST | Choctaw | OK | WFEC | 2023-09-30 | 2026-12-01 | 201.6 | 201.6 | 201.6 | ER/NR | Battery/Storage |  | Western Farmers 138kV Hugo Substation | 2021-05-14 | DISIS STAGE
GEN-2021-032 | DISIS-2021-001 | 04 SOUTHEAST | Choctaw | OK | WFEC | 2023-09-30 | 2026-12-01 | 149.8 | 149.8 | 149.8 | ER/NR | Solar |  | Western Farmers 138kV Hugo Substation | 2021-05-14 | DISIS STAGE
GEN-2021-096 | DISIS-2021-001 | 03 CENTRAL | Coffey | KS | WERE | 2026-05-01 | 2026-12-01 | 503.5 | 503.5 | 503.5 | ER/NR | Solar |  | Wolf Creek - Benton 345 kV | 2021-04-29 | DISIS STAGE
GEN-2021-107 | DISIS-2021-001 | 03 CENTRAL | Pottawatomie | KS | WERE | 2026-10-01 | 2026-12-01 | 201.6 | 201.6 | 201.6 | ER/NR | Solar |  | Evergy 345kV Jeffrey Energy Center | 2021-05-20 | DISIS STAGE
GEN-2022-077 | DISIS-2022-001 | 02 NEBRASKA | Chase | NE | NPPD | 2026-01-01 | 2026-12-01 | 250 | 250 | 250 | ER/NR | Solar |  | Enders 115 kV Substation | 2022-09-21 | DISIS STAGE
GEN-2022-092 | DISIS-2022-001 | 04 SOUTHEAST | Nowata and Craig | OK | WERE | 2026-09-01 | 2026-12-15 | 299.2 | 299.2 | 299.2 | ER/NR | Wind |  | Neosho-Delaware 345 kV | 2022-11-15 | DISIS STAGE
GEN-2021-024 | DISIS-2021-001 | 01 NORTH | LaMoure | ND | WAPA | 2026-10-22 | 2026-12-22 | 203.04 | 203.04 | 203.04 | ER/NR | Wind |  | WAPA 230kV Jamestown Substation | 2021-05-14 | DISIS STAGE
GEN-2021-106 | DISIS-2021-001 | 02 NEBRASKA | Thayer | NE | NPPD | 2026-10-30 | 2026-12-30 | 102.06 | 102.06 | 102.06 | ER/NR | Solar |  | Hebron 115Kv substation | 2021-05-20 | DISIS STAGE
GEN-2022-093 | DISIS-2022-001 | 03 CENTRAL | Hempstead | AR | AEP | 2026-10-01 | 2026-12-30 | 90 | 90 | 90 | ER/NR | Solar |  | Fulton - Patmos West 115kV | 2022-11-15 | DISIS STAGE
GEN-2020-006 | DISIS-2020-001 | 01 NORTH | Bowman County | ND | BEPC | 2023-11-01 | 2026-12-31 | 250 | 250 | 250 | ER/NR | Solar |  | Bowman 230kV substation | 2020-04-23 | DISIS STAGE
GEN-2020-008 | DISIS-2020-001 | 03 CENTRAL | Stevens County | KS | SPS | 2023-09-01 | 2026-12-31 | 250 | 250 | 250 | ER/NR | Hybrid | Solar/Storage | Corporation Carpenter 345kV Substation | 2020-04-22 | DISIS STAGE
GEN-2020-011 | DISIS-2020-001 | 02 NEBRASKA | Funk | NE | NPPD | 2026-10-15 | 2026-12-31 | 320 | 320 | 320 | ER/NR | Hybrid | Solar/Storage | Axtell-Sweetwater Substation 345kV | 2020-04-08 | DISIS STAGE
GEN-2020-015 | DISIS-2020-001 | 03 CENTRAL | Johnston | OK | OGE | 2026-11-01 | 2026-12-31 | 104 | 104 | 104 | ER/NR | Solar |  | Johnston County 345 kV Substation | 2020-04-19 | DISIS STAGE
GEN-2020-016 | DISIS-2020-001 | 04 SOUTHEAST | Tillman | OK | WFEC | 2026-10-30 | 2026-12-31 | 202 | 202 | 202 | ER/NR | Wind |  | Snyder SW-Cache 138 kV line | 2020-04-20 | DISIS STAGE
GEN-2021-010 | DISIS-2021-001 | 04 SOUTHEAST | Beckham | OK | OGE | 2027-04-01 | 2026-12-31 | 231 | 273.6 | 273.6 | ER/NR | Solar |  | Border 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-012 | DISIS-2021-001 | 04 SOUTHEAST | Beckham | OK | OGE | 2023-11-15 | 2026-12-31 | 225 | 232.32 | 232.32 | ER/NR | Battery/Storage |  | Border 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-014 | DISIS-2021-001 | 04 SOUTHEAST | Beckham | OK | OGE | 2027-04-01 | 2026-12-31 | 231 | 233.98 | 233.98 | ER/NR | Solar |  | Border 345 kV interconnection substation | 2021-04-30 | DISIS STAGE
GEN-2021-016 | DISIS-2021-001 | 04 SOUTHEAST | Johnston and Murray | OK | OGE/AEP | 2025-04-01 | 2026-12-31 | 250 | 255 | 255 | ER/NR | Wind |  | Sunnyside-Johnston 345 kV | 2021-04-30 | DISIS STAGE
GEN-2021-018 | DISIS-2021-001 | 04 SOUTHEAST | Noble | OK | OGE | 2027-04-01 | 2026-12-31 | 231 | 235.35 | 235.35 | ER/NR | Solar |  | Sooner 345 kV | 2021-04-30 | DISIS STAGE
GEN-2021-019 | DISIS-2021-001 | 04 SOUTHEAST | Noble | OK | OGE | 2027-04-01 | 2026-12-31 | 74.9 | 75.89 | 75.89 | ER/NR | Battery/Storage |  | Sooner 345 kV | 2021-04-30 | DISIS STAGE
GEN-2021-021 | DISIS-2021-001 | 04 SOUTHEAST | Stevens | KS | SUNC | 2026-09-01 | 2026-12-31 | 150 | 150 | 150 | ER/NR | Wind |  | Carpenter 345 kV Substation | 2021-04-20 | DISIS STAGE
GEN-2021-022 | DISIS-2021-001 | 04 SOUTHEAST | Kiowa | KS | SUNC | 2026-09-01 | 2026-12-31 | 75 | 75 | 75 | ER/NR | Wind |  | Greensburg 115 kV Substation | 2021-04-20 | DISIS STAGE
GEN-2021-026 | DISIS-2021-001 | 03 CENTRAL | Newton | MO | SWPA | 2026-10-31 | 2026-12-31 | 204.12 | 204.12 | 204.12 | ER/NR | Solar |  | Tap SWPA 161kV Springfield to La Russel Transmission Line | 2021-05-14 | DISIS STAGE
GEN-2021-027 | DISIS-2021-001 | 02 NEBRASKA | Lancaster | NE | NPPD | 2026-10-31 | 2026-12-31 | 102.06 | 102.06 | 102.06 | ER/NR | Solar |  | Sheldon 115 kV Substation | 2021-05-14 | DISIS STAGE
GEN-2021-029 | DISIS-2021-001 | 03 CENTRAL | Linn KS and Bates MO | KS | KCPL | 2026-09-28 | 2026-12-31 | 253.2 | 253.8 | 253.8 | ER/NR | Battery/Storage |  | Evergy 345kV La Cygne Substation | 2021-05-14 | DISIS STAGE
GEN-2021-030 | DISIS-2021-001 | 03 CENTRAL | Linn KS and Bates MO | KS | KCPL | 2026-09-28 | 2026-12-31 | 510.3 | 510.3 | 510.3 | ER/NR | Solar |  | Evergy 345kV La Cygne Substation | 2021-05-14 | DISIS STAGE
GEN-2021-035 | DISIS-2021-001 | 03 CENTRAL | Grant | KS | SUNC | 2025-10-29 | 2026-12-31 | 113 | 113 | 113 | ER/NR | Solar |  | Tap Sunflower Santana 161kV Transmission Line | 2021-05-14 | DISIS STAGE
GEN-2021-037 | DISIS-2021-001 | 02 NEBRASKA | Perkins & Keith | NE | NPPD | 2026-10-31 | 2026-12-31 | 244.22 | 244.22 | 244.22 | ER/NR | Wind |  | NPPD Sidney to Keystone 345 kV Line | 2021-05-14 | DISIS STAGE
GEN-2021-055 | DISIS-2021-001 | 04 SOUTHEAST | Titus | TX | AEP |  | 2026-12-31 | 240 | 240 | 240 | ER/NR | Solar |  | Welsh 345kV Substation | 2021-04-29 | DISIS STAGE
GEN-2021-058 | DISIS-2021-001 | 01 NORTH | Madison | NE | NPPD |  | 2026-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Shell Creek-Hoskins 345kv Line | 2021-04-29 | DISIS STAGE
GEN-2021-074 | DISIS-2021-001 | 03 CENTRAL | Prowers | CO | SPS | 2026-07-01 | 2026-12-31 | 500 | 500 | 500 | ER/NR | Solar |  | Finney - Lamar 345 kV | 2021-05-19 | DISIS STAGE
GEN-2021-075 | DISIS-2021-001 | 04 SOUTHEAST | Harvard | TX | AEP | 2026-07-01 | 2026-12-31 | 300 | 300 | 300 | ER/NR | Solar |  | CAMPCOR4 138kV | 2021-05-19 | DISIS STAGE
GEN-2021-076 | DISIS-2021-001 | 03 CENTRAL | Ellis | KS | MIDW | 2025-04-30 | 2026-12-31 | 113 | 113 | 113 | ER/NR | Solar |  | Midwest Post Rock 230 kV Substation | 2021-05-13 | DISIS STAGE
GEN-2021-079 | DISIS-2021-001 | 04 SOUTHEAST | Delaware (OK) / Benton (AR) | OK | AEP | 2023-07-31 | 2026-12-31 | 140 | 140 | 140 | ER/NR | Hybrid | Solar/Storage | Flint Creek to Tonnece 345 kV | 2021-04-30 | DISIS STAGE
GEN-2021-097 | DISIS-2021-001 | 05 SOUTHWEST | Elida | NM | SPS | 2026-07-01 | 2026-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Hisel 230 kV Substation | 2021-05-24 | DISIS STAGE
GEN-2021-098 | DISIS-2021-001 | 04 SOUTHEAST | Dewey | OK | OGE | 2026-07-01 | 2026-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Dewey District 138 kV Substation | 2021-05-24 | DISIS STAGE
GEN-2022-087 | DISIS-2022-001 | 05 SOUTHWEST | Lamb | TX | SPS | 2026-06-01 | 2026-12-31 | 225 | 225 | 225 | ER/NR | Hybrid | Solar/Storage | 230kV Lamb County Interchange | 2022-11-05 | DISIS STAGE
GEN-2021-002 | DISIS-2021-001 | 04 SOUTHEAST | Okeene | OK | WFEC | 2024-09-25 | 2027-01-07 | 100 | 100 | 100 | ER/NR | Battery/Storage |  | 138kV Okeene Substation | 2020-12-29 | DISIS STAGE
GEN-2022-008 | DISIS-2022-001 | 05 SOUTHWEST | Randall | TX | SPS | 2025-01-01 | 2027-04-01 | 150 | 150 | 150 | ER/NR | Solar |  | Nichols - Amarillo South 230 kV | 2022-05-18 | DISIS STAGE
GEN-2022-028 | DISIS-2022-001 | 02 NEBRASKA | Cheyenne | NE | Tri-State | 2025-01-01 | 2027-04-01 | 125 | 125 | 125 | ER/NR | Solar |  | Sidney - Stegall 230 kV | 2022-06-13 | DISIS STAGE
GEN-2022-032 | DISIS-2022-001 | 02 NEBRASKA | Kimball | NE | BEPC | 2025-01-01 | 2027-04-01 | 155 | 155 | 155 | ER/NR | Solar |  | Laramie-Sidney 345 kV | 2022-06-22 | DISIS STAGE
GEN-2022-060 | DISIS-2022-001 | 04 SOUTHEAST | Osage | OK | AEP | 2026-12-31 | 2027-04-01 | 55 | 55 | 55 | ER/NR | Battery/Storage |  | Hwy 20 138 kV Substation | 2022-06-23 | DISIS STAGE
GEN-2022-061 | DISIS-2022-001 | 02 NEBRASKA | Scotts Bluff | NE | WAPA | 2025-01-01 | 2027-04-01 | 180 | 180 | 180 | ER/NR | Solar |  | Stegall - Victory Hill 230kV | 2022-07-18 | DISIS STAGE
GEN-2022-064 | DISIS-2022-001 | 04 SOUTHEAST | Major | OK | WFEC | 2025-01-01 | 2027-04-01 | 80 | 80 | 80 | ER/NR | Battery/Storage |  | Clearville 138 kV Substation | 2022-07-22 | DISIS STAGE
GEN-2022-066 | DISIS-2022-001 | 01 NORTH | Perkins | SD | WAPA | 2026-12-31 | 2027-04-01 | 150 | 150 | 150 | ER/NR | Solar |  | Bison - Maurine 230 kV Substation | 2022-08-05 | DISIS STAGE
GEN-2022-067 | DISIS-2022-001 | 01 NORTH | Meade | SD | WAPA | 2026-12-31 | 2027-04-01 | 150 | 150 | 150 | ER/NR | Solar |  | Faith - Maurine 115 kV Substation | 2022-08-05 | DISIS STAGE
GEN-2022-078 | DISIS-2022-001 | 01 NORTH | Bowman | ND | BEPC | 2025-01-01 | 2027-04-01 | 180 | 180 | 180 | ER/NR | Solar |  | Rhame-Bellfield 230 kV | 2022-09-21 | DISIS STAGE
GEN-2022-027 | DISIS-2022-001 | 05 SOUTHWEST | Cochran | TX | SPS | 2025-01-01 | 2027-04-04 | 55 | 55 | 55 | ER/NR | Battery/Storage |  | Lehman 115 kV Substation | 2022-06-13 | DISIS STAGE
GEN-2022-097 | DISIS-2022-001 | 01 NORTH | Rosebud and Cluster | MT | WAPA | 2026-12-01 | 2027-10-01 | 400 | 408 | 408 | NR | Wind |  | 230 kV gen-tie line (Miles City 2 - Rosebud Creek 230 kV Line) | 2022-10-17 | DISIS STAGE
GEN-2021-004 | DISIS-2021-001 | 04 SOUTHEAST | Carter | OK | OGE | 2026-09-05 | 2027-10-19 | 250 | 250 | 250 | ER/NR | Hybrid | Solar/Storage | Sunnyside to Poolville 138kV Feeder | 2021-04-30 | DISIS STAGE
GEN-2021-008 | DISIS-2021-001 | 01 NORTH | McKenzie | ND | BEPC | 2026-05-09 | 2027-10-19 | 270 | 270 | 270 | ER/NR | Hybrid | Solar/Storage | 345kV Bus at BEPC Patent Gate Substation, McKenzie County, ND | 2021-05-10 | DISIS STAGE
GEN-2021-100 | DISIS-2021-001 | 01 NORTH | Mercer | ND | BEPC | 2026-09-15 | 2027-10-19 | 50 | 50 | 50 | ER/NR | Hybrid | Solar/Storage | Line side tap using single breaker on Beulah to Center 42kV Feeder | 2021-05-24 | DISIS STAGE
GEN-2021-104 | DISIS-2021-001 | 04 SOUTHEAST | Bossier | LA | AEP | 2026-09-05 | 2027-10-19 | 100 | 100 | 100 | ER/NR | Hybrid | Solar/Battery | Direct Injection at 138kV buss at Red Point Substation | 2021-05-26 | DISIS STAGE
GEN-2021-105 | DISIS-2021-001 | 02 NEBRASKA | Lincoln | NE | NPPD | 2026-09-05 | 2027-10-19 | 200 | 200 | 200 | ER/NR | Solar |  | Line side tap using three breaker ring bus on 230kV Feeder from Gerald Gentleman to North Platte | 2021-05-26 | DISIS STAGE
GEN-2022-079 | DISIS-2022-001 | 03 CENTRAL | Cedar | MO | EMP | 2026-01-01 | 2027-10-31 | 192 | 192 | 192 | ER/NR | Solar |  | Dadeville 161kV Substation (547478) | 2022-09-22 | DISIS STAGE
GEN-2022-080 | DISIS-2022-001 | 03 CENTRAL | Cedar | MO | EMP | 2026-01-01 | 2027-10-31 | 96 | 96 | 96 | ER/NR | Battery/Storage |  | Dadeville 161kV Substation (547478) | 2022-09-22 | DISIS STAGE
GEN-2021-069 | DISIS-2021-001 | 03 CENTRAL | Hodgeman and Ford | KS | SUNC | 2027-08-01 | 2027-11-01 | 249.6 | 249.6 | 249.6 | ER | Wind |  | SUNC Spearville - Holcomb 345kV | 2021-04-26 | DISIS STAGE
GEN-2021-070 | DISIS-2021-001 | 03 CENTRAL | Hodgeman and Ford | KS | SUNC | 2027-08-01 | 2027-11-01 | 504 | 504 | 504 | ER | Wind |  | SUNC Spearville - Holcomb 345kV | 2021-04-26 | DISIS STAGE
GEN-2021-071 | DISIS-2021-001 | 04 SOUTHEAST | Noble | OK | OGE | 2025-09-01 | 2027-11-01 | 403.2 | 403.2 | 403.2 | ER | Wind |  | OKGE Sooner 345kV line | 2021-04-26 | DISIS STAGE
GEN-2022-065 | DISIS-2022-001 | 03 CENTRAL | Edwards | KS | MKEC | 2027-09-04 | 2027-11-19 | 145 | 145 | 145 | NR | Solar |  | tap on Arthur Mullergreen-Spearville 230 kV line | 2022-07-25 | DISIS STAGE
GEN-2022-075 | DISIS-2022-001 | 03 CENTRAL | Ellis | KS | ITC | 2027-09-03 | 2027-11-19 | 175 | 175 | 175 | NR | Solar |  | Tap on the Spearville - Post Rock 345kV line | 2022-09-02 | DISIS STAGE
GEN-2021-028 | DISIS-2021-001 | 04 SOUTHEAST | Woodward | OK | WFEC | 2027-03-10 | 2027-12-01 | 204.12 | 204.12 | 204.12 | ER/NR | Solar |  | Western Farmers 138kV Mooreland Substation | 2021-05-14 | DISIS STAGE
GEN-2022-029 | DISIS-2022-001 | 05 SOUTHWEST | Lea | NM | SPS | 2027-10-01 | 2027-12-01 | 250 | 250 | 250 | NR | Hybrid | Solar/Battery | Tap of Hobbs - Kiowa 345 kV Transmission Line | 2022-06-10 | DISIS STAGE
GEN-2022-030 | DISIS-2022-001 | 05 SOUTHWEST | Lea | NM | SPS | 2027-10-01 | 2027-12-01 | 250 | 250 | 250 | NR | Hybrid | Solar/Battery | Tap of Hobbs - Kiowa 345 kV Transmission Line | 2022-06-10 | DISIS STAGE
GEN-2018-087 | DISIS-2018-002 | 04 SOUTHEAST | Bowie | TX | AEP | 2023-12-31 | 2027-12-15 | 75 | 75 | 75 | ER | Battery/Storage |  | Lydia 345kV substation | 2018-11-21 | DISIS STAGE
GEN-2018-088 | DISIS-2018-002 | 04 SOUTHEAST | Bowie | TX | AEP | 2023-12-31 | 2027-12-15 | 130 | 130 | 130 | ER | Solar |  | Lydia 345kV substation | 2018-11-21 | DISIS STAGE
GEN-2018-092 | DISIS-2018-002 | 05 SOUTHWEST | Foard/Wilbarger | TX | SPS | 2023-12-31 | 2027-12-15 | 400 | 400 | 400 | ER | Solar |  | Oklaunion-Tuco 345kV Line Break | 2018-11-21 | DISIS STAGE
GEN-2019-044 | DISIS-2019-001 | 03 CENTRAL | Ford | KS | SUNC | 2023-12-31 | 2027-12-15 | 100 | 100 | 100 | ER | Solar |  | North Fort Dodge 115kV Substation | 2019-05-24 | DISIS STAGE
GEN-2018-079 | DISIS-2018-002 | 04 SOUTHEAST | Craig/Novata | OK | AEP | 2023-12-31 | 2027-12-31 | 148 | 148 | 148 | ER | Solar |  | Farmland-Delaware 138kV line | 2018-11-18 | DISIS STAGE
GEN-2018-081 | DISIS-2018-002 | 05 SOUTHWEST | Lamb | TX | SPS | 2023-12-31 | 2027-12-31 | 175 | 175 | 175 | ER | Solar |  | Plant X 230kV Substation | 2018-11-18 | DISIS STAGE
GEN-2018-082 | DISIS-2018-002 | 04 SOUTHEAST | Pittsburg | OK | AEP | 2023-12-31 | 2027-12-31 | 215 | 215 | 215 | ER | Wind |  | Pittsburg 345kV Substation | 2018-11-18 | DISIS STAGE
GEN-2018-089 | DISIS-2018-002 | 05 SOUTHWEST | Castro | TX | SPS | 2023-12-31 | 2027-12-31 | 196 | 196 | 196 | ER | Wind |  | Newhart 230kV Substation | 2018-11-21 | DISIS STAGE
GEN-2018-090 | DISIS-2018-002 | 02 NEBRASKA | Washington | NE | OPPD | 2023-12-31 | 2027-12-31 | 125 | 125 | 125 | ER/NR | Battery/Storage |  | Raun-Fort Calhoun 345kV Line | 2018-11-21 | DISIS STAGE
GEN-2018-097 | DISIS-2018-002 | 05 SOUTHWEST | Parmer | TX | SPS | 2023-12-31 | 2027-12-31 | 100 | 100 | 100 | ER | Solar |  | Tolk 230kV Substation | 2018-11-21 | DISIS STAGE
GEN-2018-099 | DISIS-2018-002 | 05 SOUTHWEST | Parmer | TX | SPS | 2023-12-31 | 2027-12-31 | 300 | 300 | 300 | ER | Wind |  | Tolk 230kV Substation | 2018-11-21 | DISIS STAGE
GEN-2018-111 | DISIS-2018-002 | 05 SOUTHWEST | Parmer | TX | SPS | 2023-12-31 | 2027-12-31 | 75 | 75 | 75 | ER | Battery/Storage |  | Tolk 230kV substation | 2018-11-21 | DISIS STAGE
GEN-2018-112 | DISIS-2018-002 | 05 SOUTHWEST | Parmer | TX | SPS | 2023-12-31 | 2027-12-31 | 185 | 185 | 185 | ER | Solar |  | Tolk 230kV substation | 2018-11-21 | DISIS STAGE
GEN-2018-124 | DISIS-2018-002 | 05 SOUTHWEST | Parmer | TX | SPS | 2023-12-31 | 2027-12-31 | 200 | 200 | 200 | ER | Solar |  | Tolk 230kV substation | 2018-11-21 | DISIS STAGE
GEN-2019-069 | DISIS-2019-001 | 02 NEBRASKA | Madison | NE | NPPD | 2023-12-31 | 2027-12-31 | 100 | 100 | 100 | ER | Solar |  | Shell Creek-Hoskins 345kV Line | 2019-05-24 | DISIS STAGE
GEN-2019-070 | DISIS-2019-001 | 02 NEBRASKA | Madison | NE | NPPD | 2023-12-31 | 2027-12-31 | 50 | 50 | 50 | ER | Solar |  | Shell Creek-Hoskins 345kv Line | 2019-05-24 | DISIS STAGE
GEN-2019-073 | DISIS-2019-001 | 02 NEBRASKA | Madison | NE | NPPD | 2023-12-31 | 2027-12-31 | 100 | 100 | 100 | ER | Solar |  | Shell Creek-Hoskins 345kv Line | 2019-05-24 | DISIS STAGE
GEN-2021-033 | DISIS-2021-001 | 04 SOUTHEAST | Franklin | AR | OGE | 2026-10-31 | 2027-12-31 | 204.12 | 204.12 | 204.12 | ER/NR | Solar |  | 161kV Branch substation | 2021-05-14 | DISIS STAGE
GEN-2021-034 | DISIS-2021-001 | 02 NEBRASKA | Dawson | NE | NPPD | 2027-10-31 | 2027-12-31 | 113 | 113 | 113 | ER/NR | Solar |  | Rokeby 115 kV Substation | 2021-05-13 | DISIS STAGE
GEN-2021-036 | DISIS-2021-001 | 04 SOUTHEAST | Little River | AR | SUNC | 2025-10-29 | 2027-12-31 | 204.12 | 204.12 | 204.12 | ER/NR | Solar |  | Tap Southwestern Electric Power Co. Craig to Patterson Transmission Line | 2021-05-14 | DISIS STAGE
GEN-2021-057 | DISIS-2021-001 | 02 NEBRASKA | Antelope | NE | NPPD |  | 2027-12-31 | 300 | 300 | 300 | ER | Wind |  | Antelope 345kV substation | 2021-04-29 | DISIS STAGE
GEN-2021-060 | DISIS-2021-001 | 03 CENTRAL | Lincoln | NE | NPPD |  | 2027-12-31 | 300 | 300 | 300 | ER/NR | Wind |  | Gerald Gentleman-Red Willow 345kV line | 2021-04-29 | DISIS STAGE
GEN-2021-085 | DISIS-2021-001 | 03 CENTRAL | Ford | KS | SUNC | 2027-10-15 | 2027-12-31 | 200 | 200 | 200 | ER/NR | Hybrid | Solar | Crooked Creek - Fort Dodge 115kV | 2021-04-29 | DISIS STAGE
GEN-2021-086 | DISIS-2021-001 | 04 SOUTHEAST | Howard | AR | AEP | 2027-10-15 | 2027-12-31 | 165 | 165 | 165 | ER/NR | Hybrid | Solar | Okay - Turk 138kV | 2021-04-29 | DISIS STAGE
GEN-2021-087 | DISIS-2021-001 | 03 CENTRAL | Seward | KS | SUNC | 2027-10-15 | 2027-12-31 | 185 | 185 | 185 | ER/NR | Hybrid | Solar | Walkemeyer - North Cimarron 115kV | 2021-04-29 | DISIS STAGE
GEN-2022-086 | DISIS-2022-001 | 03 CENTRAL | Finney | KS | SPS | 2027-09-30 | 2027-12-31 | 700 | 703.3 | 703.3 | ER/NR | Solar |  | 345kV Hitchland - Finney Line | 2022-11-05 | DISIS STAGE
GEN-2020-010 | DISIS-2020-001 | 04 SOUTHEAST | Mutual | OK | WFEC | 2026-10-15 | 2028-12-31 | 140 | 140 | 140 | ER/NR | Hybrid | Solar/Storage | Seiling-Taloga Substations 138kV | 2020-04-08 | DISIS STAGE
GEN-2020-012 | DISIS-2020-001 | 04 SOUTHEAST | Headrick | OK | AEP | 2026-10-15 | 2028-12-31 | 113 | 113 | 113 | ER/NR | Hybrid | Solar/Storage | Snyder ‚Äì Altus Jct. 138kV | 2020-04-10 | DISIS STAGE
GEN-2020-013 | DISIS-2020-001 | 02 NEBRASKA | Orleans | NE | NPPD | 2026-10-15 | 2028-12-31 | 215 | 215 | 215 | ER/NR | Hybrid | Solar/Storage | Orleans-Holdrege Substation 115kV | 2020-04-10 | DISIS STAGE
GEN-2021-078 | DISIS-2021-001 | 03 CENTRAL | Finney | KS | SUNC | 2027-10-15 | 2028-12-31 | 160 | 160 | 160 | ER/NR | Hybrid | Solar/Storage | Pierceville ‚Äì Plymell 115kV | 2021-04-29 | DISIS STAGE
GEN-2021-084 | DISIS-2021-001 | 03 CENTRAL | Kearney | KS | SUNC | 2027-10-15 | 2028-12-31 | 200 | 200 | 200 | ER/NR | Hybrid | Solar/Storage | Williamson - Fletcher 115kV | 2021-04-29 | DISIS STAGE
GEN-2022-094 | DISIS-2022-001 | 03 CENTRAL | Osborne | KS |  | 2028-05-27 | 2028-12-31 | 250 | 250 | 250 | ER/NR | Wind |  | Postrock to Axtell 345 kV line | 2022-11-15 | DISIS STAGE
GEN-2022-095 | DISIS-2022-001 | 03 CENTRAL | Osborne | KS |  | 2028-05-27 | 2028-12-31 | 250 | 250 | 250 | ER/NR | Wind |  | Postrock to Axtell 345 kV line | 2022-11-15 | DISIS STAGE
GEN-2022-096 | DISIS-2022-001 | 03 CENTRAL | Osborne | KS |  | 2028-05-27 | 2028-12-31 | 225 | 225 | 225 | ER/NR | Wind |  | Postrock to Axtell 345 kV line | 2022-11-15 | DISIS STAGE
GEN-2020-033 | DISIS-2020-001 | 02 NEBRASKA | Sarpy County | NE | OPPD | 2023-04-30 |  | 50 | 50 | 50 | ER/NR | Hybrid | Solar/Storage | S1281 ‚Äì S1362 161kV (S1363) | 2020-04-29 | DISIS STAGE
GEN-2022-GR2 |  |  | Harrah | OK |  |  |  | 400 | 400 | 480 | NRIS |  |  |  | 2022-08-01 | None
GEN-2022-SR8 | Surplus |  | Campbell | NE |  |  |  | 210 | 210 | 210 | ER | Solar |  | Macon 345 kV Substation |  | None
GEN-2023-SR2 | Surplus | [6 empty] | 85 | 85 | 85 | ER | Battery/Storage |  | Minco 345 kV Substation | 2022-11-30 | None
GEN-2023-SR6 | Surplus | [6 empty] | 100.24 | 100.24 | 100.24 | ER | Solar |  | Hoskins 345 kV Substation | 2022-12-16 | None
GEN-2023-SR7 | Surplus | [6 empty] | 100.8 | 100.8 | 100.8 | ER | Battery/Storage |  | Hoskins 345 kV Substation | 2022-12-16 | None